Sprinkler Repair Tasks – Wasatch Commons

- - Repair broken pvc pipe near common house electrical boxes.

- - Replace broken head by central path just south of Laraine’s (#14).

- - Sprinkler by parking strip on east driveway has something wrong with it (Mike?).

- - Move sprinkler head that is behind hay bales several feet north onto our land.  May mean laying new pipe on our land. Can abandon the underground pipe that crosses onto Hans’s/Shad’s field.

- - Move sprinkler head that is behind tree by Lynda’s (#16).

- - Plants behind tree will still need water.

- - lawn in front of tree needs water.

- - therefore may need to add another head, maybe on a different station.

- - Add 1/4 arc sprinkler heads in corners of common house back patio, instead of 3/4 arc on tips of projections, so we aren’t watering as much concrete.

- - Straighten up sprinkler head in island by handicap parking, west lot.